Honeywell T-stat

T475A

Outdoor reset control

R

B

Gas Valve

Robertshaw

7000ERHC-S7C

TH

TR

Boiler T-Stat

# Hi limit Cut Off

BLK

BLK

24V Transformer

Line in 120V

BLK

WHT

# Flow Switch FS10-C

Watts Flow Regulator

WHT

BLK

WHT

BLK

WHT

BLK